## Slide 1: EVLA overview
Current and future capabilities
Michael P. Rupen
Project Scientist for the WIDAR Correlator

## Slide 2: What is the EVLA?
A very quick introduction

## Slide 3: 28x25m antennas, 8 feeds, 0.035-36.4 km

## Slide 4: 28x25m antennas, 8 feeds, 0.035-36.4 km

## Slide 5: 28x25m antennas, 8 feeds, 0.035-36.4 km

## Slide 6: 28x25m antennas, 8 feeds, 0.035-36.4 km

## Slide 7: 28x25m antennas, 8 feeds, 0.035-36.4 km

## Slide 8: 28x25m antennas, 8 feeds, 0.035-36.4 km

## Slide 9: 28x25m antennas, 8 feeds, 0.035-36.4 km

## Slide 10: 28x25m antennas, 8 feeds, 0.035-36.4 km

## Slide 11: Basic scientific capabilities

## Slide 12: Sensitivity & frequency coverage
Pull down 2 x 1 GHz (4 GHz) at once, within a given band
~20sec to change bands
Assumes all antennas fully outfitted
L
S
C
X
Ku
K
Ka
Q
1 GHz
10 GHz
50 GHz

## Slide 13: Receiver availability
1-4 GHz: new OMTs (better polarization performance)
8-12 GHz: wideband receivers
3-bit samplers: 2 x 8 GHz bandwidth. This has slipped by a few weeks

## Slide 14: Angular resolution, largest angular scale, & field-of-view
4 configurations: A  big; D  small
~4 months in each configuration, cycling D C B A
(plus hybrids for southern sources)

## Slide 15: WIDAR Overview
 | VLA | WIDAR-now | WIDAR-2013
Quantization | 3-level | 16-level | 16/256-level
# antennas | 27 | 28 | 32
Max. bandwidth | 0.2 GHz | 10 GHz | 16 GHz
# subband pairs | 1 - 2 | 1 – 48 | 1 – 64
# channels (total) | 2-512 | 256 – 32,768 | 256 – 4,194,304
Max./min. δν | 50 MHz / 381 Hz | 2 MHz / 122 Hz | 2 MHz / 0.12 Hz
dtmin | 1.7 sec | 0.1 sec | 0.01 sec
Max. data rate | 3.3 x 103 vis/sec | 6 x 106 vis/sec | 7.5 x 106 vis/sec (1600-16000 x 106 vis/sec)
Extras | Phasing VLBI Subarrays | Phasing Subarrays Auto-correlation | Phasing VLBI Subarrays Pulsar phase bins Burst mode Auto-correlation

## Slide 16: Flexibility: truly independent subbands
64 independent Spectral Windows
Ability to make simultaneous continuum & multiple line measurements (e.g., L band, all at once:
continuum
galactic + extragalactic HI imaging & absorption
OH lines
>10 radio recombination lines)

## Slide 17: Flexibility: truly independent subbands
64 independent Spectral Windows
Requires each subband be truly independent:
Tuning
Bandwidth (31.25 kHz – 128 MHz)
Number of polarization products (single, dual, full)
Number of channels
Trade time resolution for channels (recirculation)
Trade subbands for channels (hardware stacking)
Dump rates

## Slide 18: Computing challenges
The EVLA produces a LOT of data: ~50 MB/s now, ~75 MB/s for this proposal cycle
  1 hour= 180 GB @ 50 MB/s
  Simply transferring the data is painful  internet or disks
Complete frequency coverage and wide bandwidths
  Radio frequency interference (RFI) everywhere
  Instruments vary (e.g., field-of-view goes as wavelength)
  Sources vary (e.g., freq^2  factor 4 different in flux over 2:1 bandwidth ratio)
  Extremely sensitive  sidelobes and dynamic range issues
  LOTS more science: lines, spectral shapes, polarization, mosaics, on-the-fly mapping

## Slide 19: Dynamic scheduling
Everything is dynamically scheduled
Can’t tell exactly when your schedule will run, or what will have been observed just before that
  Initial slew is uncertain
Scheduling is based on:
  TAC priority (A B C, science, etc.) – i.e., competition
  Current weather (rms phase, wind – by-band defaults, which you can override) – note we do not yet look at the ionosphere, weather predictions, solar activity, opacity, RFI
  Efficiency

## Slide 20: Dynamic scheduling
Getting on the telescope:
  Get your observing schedules in early
  Short blocks are easier…but require more overhead
  Can request `filler’ time (short bad weather blocks) – note we are accepting much more Priority C than in the past
  Daytime is harder (competes with commissioning, maintenance)
  The weather changes during the year

## Slide 21: Commissioning while observing
We are still commissioning the EVLA
Shared risk: we do our best, but we do sometimes make mistakes
Commissioning: we’re still putting the system together
  Capabilities are not all there
  We are still learning the best & most efficient ways to reduce the data
  Ten steps forward, two steps back (hey, we’re getting better!)
  The staff is very busy these days – be patient with us please!

## Slide 22: Commissioning while observing
We take scientific/TAC priorities very seriously
We take Resident Shared Risk Observing very seriously (see next few slides)

## Slide 23: Proposing for the EVLA
February 1, 2012 call for proposals

## Slide 24: February 1, 2012 deadline
This call only: only BnA and A configurations
Covers 7sep12-7jan13
Regular, Rapid response, Filler proposals (<10 GHz, anytime, 30-60mins)
  Key science
  Proprietary period normally 12months since last observations
Please note:
  Observing time includes overheads (flux, phase, bandpass calibration; slew time; dummy scans)
  OSRO has become much more impressive (next slide)
  Referees, scientific groupings, and TAC have changed
Joint proposals with Fermi, Chandra
Future calls: Feb 1, Aug 1
  Exploratory/DDT proposals anytime (<=6 mos. proprietary period)

## Slide 25: Open Shared Risk Observing (1feb12)
2 basebands
8 contiguous subbands per baseband (8x128-8x0.03125 MHz)
Full, dual, single pol’n products
Within a baseband all subbands have same BW, number of channels, pol’n products
Lower sensitivity at subband edges
No Doppler tracking

## Slide 26: Resident Shared Risk Observing (1feb12)
Up to 25% of observing time
Full access to EVLA capabilities at the time of observing…
In exchange for helping us out with commissioning
  Come to Socorro for at least 3 months (1 mo./10 hrs of obs time)
  Work in commissioning group
  Proposal includes a technical justification of your proposed commissioning work
  Commissioning part of proposal is separately reviewed, after passing the scientific TAC
Possible areas: fast dumps, pulsars, VLBI, planetary observing, OTF mosaicking, automatic flagging, solar observing, advanced imaging algorithms and data analysis tools, pipeline, …

## Slide 27: Resident Shared Risk Obs.
1feb12
deadline 
31dec12 Formal end of construction project

## Slide 28: Resident Shared Risk Observing (1feb12)

## Slide 29: What NRAO can do for you
After the proposal

## Slide 30: Documentation on the Web
Go to www.nrao.edu, click on astronomer, then EVLA:
Observational Status Summary: basic introductory guide with (almost) everything in this talk, and more!
EVLA Exposure Calculator: how long does it take to get to 1microJy/beam?
FAQs: how much overhead do I need?
eNews: late-breaking news for our observing community
Data archive: all VLA, VLBA, EVLA data are accessible through the NRAO archive
Plus information on proposal submission, observing scripts, memo series, RFI plots and lists, data reduction…

## Slide 31: Training
Community days
  Berkeley, CA Jan 13, 2012
AAS splinter sessions & NRAO booth
Data reduction workshops
  Caltech, CA Jan 19-20, 2012
  Socorro, NM Feb 22-Mar 1, 2012
Synthesis Imaging Workshop (and books) every two years
  Socorro, NM May 29- Jun 5, 2012
  Single dish workshops in Green Bank, WV every other year
  Lectures are on the Web
Visit NRAO
  Observing & data reduction trips

## Slide 32: Support
Travel support
Preprint and page charges
Large proposal/key science support
Students (undergraduate and graduate)
  Summer students
  Student observing support (also class observations in some cases)
  Co-op program (undergraduates)
  Graduate student internships
  Graduate fellowships
Postdoctoral fellowships (Jansky and others)
Short- or long-term visits
  PhD astronomers or radio engineers, preferably junior

## Slide 33: NRAO staff
Helpdesk
E-mail, telephone
Wide variety of radio expertise
  Data analysts
  Software engineers
  Hardware gurus
  Scientific staff
Friendly (mostly), helpful (usually)
  We really do like working in a national observatory
  You can’t possibly have crazier ideas than we do

## Slide 34: Some recent results (just for fun)
Recent demo/science results from the EVLA

## Slide 35: The jet of M87, then and now
VLA, 15 GHz, q=0.15²
EVLA, 33 GHz, q=0.05²
EVLA demo science: F. Owen

## Slide 36: The jet of M87, then and now
VLA,
44 GHz
EVLA, 33 GHz
EVLA demo science: F. Owen

## Slide 37: Relics and jets in Abell 2256
1–2 GHz, 20-arcmin on a side; color corresponds to spectral index (Owen, Rudnick, Eilek, Rau, Bhatnagar, Kogan)

## Slide 38: SS433 @ 26 GHz: 12 ~weekly snapshots
Miller-Jones et al./demo science

## Slide 39: IC10 (dwarf galaxy) at 6cm
Heesen et al.

## Slide 40: Backup slides
Low frequencies
A few more pics

## Slide 41: Below 1 GHz at the EVLA: receivers
Lowband: 58-84, 230-430 MHz
First receiver set in the lab being tested; 2nd in final stages of construction
An optimistic schedule of getting them on the array:
  Jan 2012: 2
  Mar 2012: 6
  End 2012: 28
RSRO would really help, in the second half of 2012
  Probably could get a bit of ToO time (<10hrs per project) on that timescale
  Optimistically might hope for “regular” RSRO call in Aug 2012 (for 2013)
Pretty pics: http://www.aoc.nrao.edu/~pharden/LBR/lbr.htm

## Slide 42: Below 1 GHz at the EVLA: feeds
Initially use the old 4, P band dipoles
  Means special campaigns for lower band – upper should be available all the time
New feed based on Harun & Ellingson (Va Tech) is in the early stages of design
74 MHz dipoles:
http://www.aoc.nrao.edu/~pharden/LBR/PIX/pix.htm#74dipole

## Slide 43: Below 1 GHz at the EVLA: pretty pics